## Sheet1
Building Photo | Adress_Name | Auditor_full_name | Audit_Date | Yearly_Energy_Cost | Year_Build | Total_floor_area | Heating_Type | Ceiling_height | Window_type | Window_area | Door_type | Door_area | Net_wall_area | Ceiling/attic_area | Basment_type | Basement_area | Seconds of Combustion Gas Spillage Test | Appliance Carbon Monoxide (CO) Test | Carbon Monoxide (CO)parts per million Test | Combustion Appliance Draft Test (PASSED/FAILED) | Gas leak detection(PASSED/FAILED) | Gas_leak_where | Other Health & Safety Concerns | Natural Air Changes per Hour(ACHn) | CFM50 reading | Ring Used | Image of Ring | Heater Type | Heating Efficiency | Heating output | Heating Load | Cooling load | Attics/Ceilings R-value | Above Ground Walls R-value | Basement Walls R-value | Basement Ceilings R-value | Image_1 | Image_2 | Air_leakage_comments
path to photo | Me_test1 | Rudolfs | 2024-05-25 | 3000 | 2024 | 3000 | Oil | 5 | single | 200 | no_idea | 300 | 600 | 1000 | Full | 750 | 60 | 24 | 20 | PASSED | FAILED | In the kitchen | NA | 0.5 | 500 | A | path to image | Oil | 50 | 3000 | 2000 | 1000 | 40 | 30 | 50 | 20 | path to image | Path to image comment | There was a significant hole in the further rooms closet into the attic
path to photo | Me_test2 | Rudy | 2024-05-24 | 4000 | 2019 | 5000 | Gas | 5 | double | 400 | no_idea | 500 | 500 | 2000 | Crawlspace | 600 | 50 | 30 | 20 | FAILED | PASSED |  | NA | 0.7 | 450 | B | path to image | Gas | 20 | 2000 | 3000 | 15000 | 50 | 20 | 20 | 20 | path to image | Path to image comment